## Sheet1
AC FAILURE, SMOKE DETECTION AND OVER TEMPERATURE ALARM SYSTEM
S.N. | Material | Piece | Price/Pieces | Total | Description
1 | AC phase detection circuits | 3 | 2375 | 7125 | High accurate AC phase detection for AC(110-220V) @ 50-60Hz
5 | Display Screen I2C interface | 1 | 1275 | 1275 | High luminious LCD type display with I2C interface
6 | Microcontroller Board | 1 | 2650 | 2650 | Main control board
7 | Battery & Charger | 1 | 2200 | 2200 | 12V Battery and charger
8 | Automatic Battery Charger Unit | 1 | 1375 | 1375 | Automatic Battery charger
9 | High efficient voltage regulator and switching circuits | 1 | 1650 | 1650 | For uninterruptable power supply for all parts bestly designed voltage regulator circuits
10 | Mountable Siren | 2 | 1350 | 2700 | 12V DC siren
11 | Mounting & Box | 1 | 1375 | 1375 | IP67 Box
14 | Development Cost | 1 | 12500 | 12500
# | Total |  |  | 32850
* Note: all the numeric values defined in above Cost Information table are in Nepalese ruppes